## Slide 1: Hot-Phase Cold-Phase Example

## Slide 2: The Objective of this Example
To show how some phenomena can only be modeled with full 3-phase modeling
Symmetrical component modeling does not expose this issue
When distribution lines are not transposed (usually the case) one phase is “hotter” than the others and one phase may.

## Slide 3: The Problem

## Slide 4: Schematic
3000 kW
12.47 kV

## Slide 5: Symmetrical Component Line Model Results

## Slide 6: Specifying Line Geometry
New WireData.AL_336_19STR Rac=0.190761 Runits=km GMRac=0.64008 GMRUnits=cm Radius=0.84582 Radunits=cm normamps=453 544
New WireData.ACSR_1/0_6/1 Rac=0.695936 Runits=km GMRac=0.13462 GMRUnits=cm Radius=0.50546 Radunits=cm normamps=271 325
New LineGeometry.336_HORIZ nconds=4 nphases=3
~ cond=1 wire=AL_336_19STR x=-1.39598 h=12.192 units=m
~ cond=2 wire=AL_336_19STR x=0 h=12.192 units=m
~ cond=3 wire=AL_336_19STR x=1.39598 h=12.192 units=m
~ cond=4 wire=ACSR_1/0_6/1 x=0 h=10.9728 units=m
~ reduce=y

## Slide 7: Results with Line Geometry

## Slide 8: Mtx601 LineCode from IEEE 13-Bus
! Horizontal Crossarm - B is hot phase
New linecode.mtx601 nphases=3 BaseFreq=60
~ rmatrix = (0.3465 | 0.1560 0.3375 | 0.1580 0.1535 0.3414 )
~ xmatrix = (1.0179 | 0.5017 1.0478 | 0.4236 0.3849 1.0348 )
~ units=mi

## Slide 9: Results from Mtx601 LineCode

## Slide 10: A Real Case Where This is Important
Submerged Arc Furnace with Rectangular Electrodes

## Slide 11: Silicon Metal Submerged Arc Furnace

## Slide 12: Arc Furnace Power Supply

## Slide 13: Arc Furnace Model

## Slide 14: Together…Shaping the Future of Electricity